Load a Vocabulary File

- Tap  File

- Tap Vocab File

- Tap Load Vocab File

- Choose the Vocab File desired and tap OK

- All default Vocabulary Files are marked as Original and cannot

- be modified.  To use a default vocabulary file see Option A in Create a New Vocabulary File below.

Create a New Vocabulary File:

Note: A single user generally has one Vocabulary File.

OPTION A:  From an Existing Vocabulary File

- Tap  File

- Tap Vocab File

- Tap  Load Vocab File

- Choose the Vocab File desired and tap OK.

- Tap  File

- Tap Vocab File

- Tap  Save Vocab File As (this will take some time)

- Type a new Name for your Vocab File

- Tap  Save

OPTION B:  A Brand New Vocabulary File

- Tap File

- Tap Vocab File

- Tap New Vocab File, choose Continue

- Type a Name for your Vocabulary File

- Tap  Create

- You must Set a Home Page for New Vocabulary Files,

- See instructions below.

| To Enter Edit Mode | - Tap Edit on Menu Bar - Tap Edit Mode (Checkmark displayed) |
| --- | --- |
| To Exit Edit Mode | - Tap Edit on Menu Bar - Tap Edit Mode (No Checkmark) |

When editing, on the device, you will need to open the keyboard at

the bottom of the page by tapping on the keyboard icon in the Menu Bar

Create a New Page (In Edit Mode):

- Tap Edit Menu

- Tap  Modify Vocabulary

- Tap  Create

- Tap New Page

- Type a  Name for your New Page (open keyboard)

- Select the number of  Rows and Columns (tap on triangles for choices)

- Tap  Create

Set Home Page (In Edit Mode):

- Tap and Hold on  desired Home Page

- Tap  Page

- Tap  Set as Home of the Current Vocab File

No Home Page Warning - When a Vocabulary File without a Home Page is loaded, a blank page is displayed.

- Tap View on the Menu Bar

- Tap  Go To, then tap  Page

- Tap on the Desired Page, then Tap  Choose

- Follow Steps above to Set Home Page

Create a New Speaking Button on Page (In Edit Mode):

- Tap and Hold in Display area for new button

- Tap  Create New Button

- Type a Label for your New Button (open keyboard)

- Type a  Message for your New Button (if different from the label)

- Tap  Search

- Tap Symbol Name(s) to Preview Symbol Image(s)

- Tap Select

- Tap Add

Create Linking & Speaking Button (In Edit Mode):

- Follow Steps 1-7 in Create a New Speaking Button on Page

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add –ed”

- Tap  Navigate

- Tap  Add

- Tap Desired Page (Page to Link To)

- pages are listed in alphabetical order

- Tap  Choose

- Tap  OK

Change the Function of a Button (In Edit Mode):

- Tap and Hold on the Button

- Tap  Edit Button

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add -ed”

- Choose Desired Button Action

- Tap  Add, depending on the action chosen, you may be asked to perform another task

- Tap OK

Remove an Action by tapping and highlighting the action, and Tap Remove

To Hide the Menus on the device:

- Tap the Tools button on the top/face of the device

- Tap the Tools button again to bring the menus back for editing

If a password is needed to keep the menus hidden:

- Choose Advanced Settings from the Edit Menu

- Choose the Full Screen tab

- Check the Password-protect Full Screen Mode box

- Choose Set password and enter a password

Change a Button’s Picture (In Edit Mode):

A minimal set of icons are provided on the ALT-Chat device, the DesktopChat provides a more complete set of icons.

- 1.  Tap and Hold on the Button

- 2.  Tap  Edit Button

- 3.  Tap  Search

- 4.  Type Symbol/Search Name

- 5.  Tap  Find (try a different name if your picture isn’t found)

- Tap Symbol Name(s) to Preview Symbol Image(s)

- Tap  Select or Find and type a new name to search on

- Choose Browse to search for icons through their folders.

To add digital pictures to buttons, you must use the DesktopChat while Editing.  The pictures need to be saved on your computer.  Follow steps 1 & 2 above and then:

- 1.  Tap Import

- 2.  Find the picture on your computer

- 3.  choose Open, if the picture looks OK

- 4.  choose OK

Change the Appearance of a Button (In Edit Mode):

- Tap and Hold on the Button

- Tap  Edit Button

- Tap on the Style tab (between General and Actions)

- Modify Colors, Border, Font, Shape, Label Position as desired

- Tap  OK

Change the Appearance of All Buttons:

- Tap  Edit on the Menu Bar

- Tap  General Settings

- Tap  Style tab

- Modify Button Style as desired

- Tap OK

Change the Speech Display Bar Appearance:

To Show or Hide the Speech Display Bar:

- Tap  Edit on the menu bar

- Tap General Settings

- Tap  Speech Display Bar

- Check or uncheck  Visible (Displayed when Checked)

To Change the Speech Display Bar Settings:

- Tap  Edit on the Menu Bar

- Tap  General Settings

- Tap  Speech Display Bar tab at bottom

- Change Settings as desired

- Tap  OK

To Choose Location of the Speech Display Bar:

- Tap  View on the menu bar

- Tap  Speech Display Bar

- Tap  On Top (Top of Display when Checked)

Rename a Page or Vocab File (In Edit Mode):

Open the vocabulary file or page to rename.  Once showing on the screen:

- Tap  Edit

- Tap  Modify Vocabulary

- Tap  Rename

- Tap Desired Resource type (e.g., Page)

- Type Desired Name

- Tap  Save

- Create a Button to Play an Audio File (In Edit Mode):

- Tap and Hold on the Button

- Tap  Edit Button

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add - ed” and chose Play Audio

- Tap  Add

- Tap Record,  Import From File for an audio file on your PC hard drive, or Tap  Use a Resource for an audio file  already in your Vocabulary File library

- Tap  OK

- Tap Apply

- Tap OK

Use the “Quick Re-Record” Feature (In Edit Mode):

This simple function allows you to re-record a message.

First, create the button (see Create a Button to Play an Audio File).

When you recorded a message it was labeled “Untitled audio”, to make things easier rename that file:

Second, Create Button to Quickly Record Audio File

- Tap and hold on the Button

- Tap  Edit Button

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add - ed” and choose Record Audio

- Tap Add

- Tap  Use a Resource

- Choose the sound file that you just renamed

- Tap choose

- Tap Apply

- Give your button a label, icon or both

- Tap  OK

- To quickly re-record

- Tap on the “Record” Button

- Tap  Record

- Record your message and Tap Stop

- To hear your recording, tap  Play

- Tap  OK

Adjust the Touchscreen Sensitivity:

- Tap  Edit on the Menu Bar

- Tap  General Settings

- Modify the Acceptance and Release Times

- Tap  OK

Transferring a Vocabulary File TO the PC:

DesktopChat must be installed onto your PC prior to starting this process.

- Connect the USB thumb drive to the right side of the device

- On the ALT-Chat tap  File, then Export

- Choose the Vocabulary File that is being copied

- Tap  Export

- When finished, unplug the thumb drive from the device and plug into the computer

- Within 90 seconds the DesktopChat will start receiving the file

- When finished, choose File>Vocab File>Load Vocab File

NOTE:  it is best Not to use your other computer applications while a transfer is taking place.

Transferring a Vocabulary File FROM the PC:

- Connect the USB thumb drive to your computer

- Choose DesktopChat  shortcut and open the program on the PC

- Tap  File, then Export

- Choose to save the vocabulary to the attached USB drive

- Choose the Vocabulary File that is being copied

- Tap  Export, copying the file might take some time

- When finished, remove the USB drive from the computer and plug it into the device

- within 90 seconds the ALT-Chat will start receiving the file

- when finished, choose File>Vocab File>Load Vocab File

- It is strongly recommended that editing is done on the DesktopChat. If this isn’t possible, export modified vocabulary files to the DesktopChat on a regular basis.

Back Up a Vocabulary File:

ALT-Chat provides a way to make a backup of the library on the device itself.

- Choose Library from the File Menu

- Choose Backup Library

Change the speaking voice:

- Choose General Settings from the Edit Menu

- Choose the Voice tab

- Choose the voice , speed, volume and pitch and OK

Sharing pages from other vocabulary files:

There are times that pages are already created in other vocabulary files that would be of value to the current vocabulary file.  With the current vocabulary file open:

- Tap  Modify Vocabulary from the Edit Menu

- Tap Import Pages

- Tap the vocabulary file the pages exist

- Highlight all of the pages to share, select Choose

The system now puts copies of each of the highlighted pages into the currently open vocabulary file, to see these, choose View>Go To>Page

Now, to Link the New pages with the existing pages - Create a button on an existing page to navigate to the new pages:

- Tap and Hold (right click) in Display area for new button

- Tap Create New Button or Edit Button

- Type a Label for your new button

- Tap Search or Browse for an icon

- Tap Select

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add –ed”

- Tap  Navigate

- Tap  Add

- Tap Desired Page (New Page to Link To)

- pages are listed in alphabetical order

- Tap  Choose

- If you want the button to speak the Label tap OK

- If you don’t want the button to speak:

- Tap  Speech Message in the Action listing

- Tap Remove

- Tap OK

Version:  ALT-1.0