Load a Vocabulary File

- Tap  File

- Tap Vocab File

- Tap Load Vocab File

- Choose the Vocab File desired and tap OK

- All default Vocabulary Files are marked as Original  and cannot

- be modified.  To use a default vocabulary file see Option A in Create a New Vocabulary File below.

Create a New Vocabulary File:

Note: A single user generally has one Vocabulary File.

OPTION A:  From an Existing Vocabulary File

- Tap  File

- Tap Vocab File

- Tap  Load Vocab File

- Choose the Vocab File desired and tap OK.

- Tap  File

- Tap Vocab File

- Tap  Save Vocab File As

- Type a new Name for your Vocab File

- Tap  Save

OPTION B:  A Brand New Vocabulary File

- Tap File

- Tap Vocab File

- Tap New Vocab File, choose Continue

- Type a Name for your Vocabulary File

- Tap  Create

- You  must Set a Home Page for  New Vocabulary Files,

- See instructions below.

| To Enter Edit Mode | - Tap Edit on Menu Bar - Tap Edit Mode (Checkmark displayed) |
| --- | --- |
| To Exit Edit Mode | - Tap Edit on Menu Bar - Tap Edit Mode (No Checkmark) |

When editing, on the device, you will need to open the keyboard at

the bottom of the page by tapping on the keyboard icon (in the lower right corner).

Create a New Page (In Edit Mode):

- Tap Edit Menu

- Tap  Modify Vocabulary

- Tap  Create

- Tap New Page

- Type a  Name for your New Page (open keyboard)

- Select the number of  Rows and Columns (tap on triangles for choices)

- Tap  Create

Set Home Page (In Edit Mode):

- Tap and Hold on  desired Home Page

- Tap  Page

- Tap  Set as Home of the Current Vocab File

No Home Page Warning - When a Vocabulary File without a Home Page is loaded, a blank page is displayed.

- Tap View on the Menu Bar

- Tap  Go To, then tap  Page

- Tap on the Desired Page, then Tap  Choose

- Follow Steps above to Set Home Page

Create a New Speaking Button on Page (In Edit Mode):

- Tap and Hold in Display area for new button

- Tap  Create New Button

- Type a Label for your New Button (open keyboard)

- Type a  Message for your New Button (if different from the label)

- Tap  Search

- Tap Symbol Name(s) to Preview Symbol Image(s)

- Tap Select

- Tap Add

Create Linking & Speaking Button (In Edit Mode):

- Follow Steps 1-7 in Create a New Speaking Button on Page

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add –ed”

- Tap  Navigate

- Tap  Add

- Tap Desired Page (Page to Link To)

- pages are listed in alphabetical order

- Tap  Choose

- Tap  OK

Change the Function of a Button (In Edit Mode):

- Tap and Hold on the Button

- Tap  Edit Button

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add -ed”

- Choose Desired Button Action (see Button Action Options)

- Tap  Add, depending on the action chosen, you may be asked to perform another task

- Tap OK

Remove an Action by tapping and highlighting the action, and Tap Remove

Change the Menu Options:

- Tap  View on the Menu Bar

- Tap  Screen

- Tap  Desired Screen Option 
Pocket PC for ChatPCSE  Menu Bar at bottom of  screen and the Pocket PC Menu Bar at the top
Normal for ChatPCSE Menu Bar only
Full Screen for no displayed Menu Bars

- A screen appears giving the option to add a password

- Add a password or just hit OK

- To exit from Full Screen, push and hold the envelope button

Change a Button’s Picture (In Edit Mode):

A minimal set of icons are provided on the ChatPCSE device, the DesktopChatSE provides a more complete set of icons.

- 1.  Tap and Hold on the Button

- 2.  Tap  Edit Button

- 3.  Tap  Search

- 4.  Type Symbol/Search Name

- 5.  Tap  Find (try a different name if your picture isn’t found)

- Tap Symbol Name(s) to Preview Symbol Image(s)

- Tap  Select or search for a different picture

To add digital pictures to buttons, you must use the DesktopChatSE while Editing.  The pictures need to be saved on your computer.  Follow steps 1 & 2 above and then:

- 1.  Tap Import

- 2.  Find the picture on your computer

- 3.  choose Open, if the picture looks OK

- 4.  choose OK

Change the Appearance of a Button (In Edit Mode):

- Tap and Hold on the Button

- Tap  Edit Button

- Tap on the Style tab (between General and Actions)

- Modify Colors, Border, Font, Shape, Label Position as desired

- Tap  OK

Change the Appearance of All Buttons:

- Tap  Edit on the Menu Bar

- Tap  General Settings

- Tap  Style tab

- Modify Button Style as desired

- Tap OK

Change the Speech Display Bar Appearance:

To Show or Hide the Speech Display Bar:

- Tap  Edit on the menu bar

- Tap General Settings

- Tap  Speech Display Bar

- Check or uncheck  Visible (Displayed when Checked)

To Change the Speech Display Bar Settings:

- Tap  Edit on the Menu Bar

- Tap  General Settings

- Tap  Speech Display Bar tab at bottom

- Change Settings as desired

- Tap  OK

To Choose Location of the Speech Display Bar:

- Tap  View on the menu bar

- Tap  Speech Display Bar

- Tap  On Top (Top of Display when Checked)

Rename a Button, Page, Vocab File (In Edit Mode):

- Tap  Edit

- Tap  Modify Vocabulary

- Tap  Rename

- Tap Desired Resource type (e.g., Page)

- If a listing appears you will need to choose the option from the list

- Type Desired Name

- Tap  Save

- Create a Button to Play an Audio File (In Edit Mode):

- Tap and Hold on the Button

- Tap  Edit Button

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add - ed” and chose Play Audio

- Tap  Add

- Tap Record,  Import From File for an audio file on your PC hard drive, or Tap  Use a Resource for an audio file in your Vocabulary File library

- Tap  OK

- Tap Apply

- Tap OK

Use the “Quick Re-Record” Feature (In Edit Mode):

This simple function allows you to re-record a message.

First, create the button (see Create a Button to Play an Audio File).

When you recorded a message it was labeled “Untitled audio”, to make things easier rename that file:

- Tap Edit menu

- Tap Modify Vocabulary

- Tap Rename

- Tap Audio

- Tap “Untitled Audio”

- Tap ”Choose”

- Rename the file i.e.  “message from Mom”

- Choose Save

Second, Create Button to Quickly Record Audio File

- Tap and hold on the Button

- Tap  Edit Button

- Tap the  ACTIONS Tab

- Tap  Triangle next to “add - ed” and choose Record Audio

- Tap Add

- Tap  Use a Resource

- Choose the sound file that you just renamed

- Tap choose

- Tap Apply

- Give your button a label, icon or both

- Tap  OK

- To quickly re-record

- Tap on the “Record” Button

- Tap  Record

- Record your message and Tap Stop

- To hear your recording, tap  Play

- Tap  OK

Adjust the Touchscreen Sensitivity:

- Tap  Edit on the Menu Bar

- Tap  General Settings

- Modify the Acceptance and Release Times

- Tap  OK

Transferring a Vocabulary File TO the PC:

DesktopChatSE must be installed onto your PC prior to starting this process (see the User’s Guide)

- Connect the ChatPCSE to your PC using the provided USB cable

- If using Windows XP or 2000: The ActiveSync program should start on its own and connect to the ChatPCSE automatically.

- choose Cancel within the ActiveSync program and this should connect the ChatPCSE to your PC as a Guest,

If using Windows Vista:  choose Connect Without Setting up your Device

- Open the DesktopChatSE program on the PC

- On the ChatPCSE tap  File, then Export

- Choose the Vocabulary File that is being copied

- Tap  Export

- within 90 seconds the DesktopChatSE will start receiving the file

- when finished, choose File>Vocab File>Load Vocab File

- when unplugging the cable from your ChatPCSE, you will be asked to restart the system, choose OK and it will restart on it’s own

Transferring a Vocabulary File FROM the PC:

- Connect the ChatPCSE to your PC using the provided USB cable

- If using Windows XP or 2000: The ActiveSync program should start on its own and connect to the ChatPCSE automatically.

- choose Cancel within the ActiveSync program and this should connect the ChatPCSE to your PC as a Guest,

If using Windows Vista:  choose Connect Without Setting up your Device

- Open the DesktopChatSE program on the PC, Tap  File, then Export

- Choose to save the vocabulary to the attached ChatPCSE device

- Choose the Vocabulary File that is being copied

- Tap  Export, copying the file might take some time

- within 90 seconds after copying the file the ChatPCSE will start receiving the file

- when finished, choose File>Vocab File>Load Vocab File

- when unplugging the cable from your ChatPCSE, you will be asked to restart the system, choose OK and it will restart on it’s own

Back Up a Library:

ChatPCSE provides a means to keep a back-up of the systems library on the device itself.  It is recommended that you always keep a back up on a separate computer in addition to this backup.

Once you’ve made changes to your library, choose File > Library > Backup Library.

- Button Action Options:

Add -s

Add -ed

Add –ing

Add –en

Add –er

Add –est

Add Message to Display

Add Time/Date to Display

Backspace Key

Battery Status

Cancel Visit

CAPS Modifier

Clear Display

Clear last word

Control (CTRL) Modifier

Dynamic Character Prediction

Dynamic Word Prediction

Load Display

Navigate

Navigate Back

Navigate to Home

No Operation

Num Modifier

Play Audio

Record Audio

Save Display

Shift Modifier

Speak

Speak Label Only

Speak Last

Speech Message

Speak Message Only

Static Character Prediction

Static Word Prediction

Stop

Toggle Mute/Unmute

Visit

Visit Exception

Volume Up

Volume Down

Version:  2.2